Laboratoire d’Electrotechnique et d’Electronique de Puissance de Lille

# Master project, 2023 – 2024

Low level control of a half and full bridge sub modules

Modular Multilevel Converter (MMC)

Supervisor:  François Gruson, Johan Boukhenfouf

## Contact: francois.gruson@ensam.eu , Arts & Métiers Sciences et Technologies

## Context

- Under reflections to use the offshore wind or hydroelectric turbine as renewable energy while providing new ancillary services to the alternative grid, the High Voltage Direct Current (HVDC) grids begin to emerge. The L2EP works on this subject since 10 years in close cooperation with RTE. Some thesis are done and others are in progress on this subject. In addition, demonstrators have been developed on this subject and one presented as part of a European project name Twenties (http://www.twenties-project.eu/node/148)

- To ensure the transit of such important powers (order of GW), the "Modular Multilevel Converter" (MMC) structure has emerged as a reference. This structure is shown in Figure 1. The model and control of the MMC with half or full bridge sub modules (with losses estimation) is now well known and one prototype has been developed.

Fig 1 : (a) MMC Scheme (b) Sub-module scheme

## Objective

- The subject of this master thesis is focused of voltage capacitors balancing techniques of half and full-bridge (DC/DC or AC/DC) converters and the estimation of the losses.

- The objective of this study is to propose Low level control of an arm constituted by full bridge or half bridge sub modules. Its control will be developed in order to estimate the converter losses and its efficiency while minimizing the computation time. The model and their controls simulated (with Matlab Simulink) will be used to compare different control strategies.

## Work steps

1.	Bibliography on low level controls for MMCs

2.	Modeling of  the average model of the MMC

3.	Modeling of one arm and proposes  balancing capacitor voltages Techniques

4.	Implement in simulation the MMC model,  the different control and balancing capacitor voltages techniques

5.	Simulations, analysis of the silicon losses

6.	Report writing

## Keyword

MMC, CBA, Voltage balancing algorithms, low-level control, HVDC, Power electronics, Modular Multilevel converters

## References

- Qingrui Tu, Zheng Xu, et Lie Xu. « Reduced Switching-Frequency Modulation and Circulating Current Suppression for Modular Multilevel Converters ». IEEE Transactions on Power Delivery 26, no 3 (juillet 2011): 2009-17. https://doi.org/10.1109/TPWRD.2011.2115258.

- Hassanpoor, Arman, Kalle Ilves, Staffan Norrga, Lennart Angquist, et Hans-Peter Nee. « Tolerance-Band Modulation Methods for Modular Multilevel Converters ». In 2013 15th European Conference on Power Electronics and Applications (EPE), 1-10. Lille, France: IEEE, 2013. https://doi.org/10.1109/EPE.2013.6632010.

- Saad, Hani, Xavier Guillaud, Jean Mahseredjian, Sebastien Dennetiere, et Samuel Nguefeu. « MMC Capacitor Voltage Decoupling and Balancing Controls ». IEEE Transactions on Power Delivery 30, no 2 (avril 2015): 704-12. https://doi.org/10.1109/TPWRD.2014.2338861.

- Sun, Changjiang, Jianwen Zhang, Xu Cai, et Gang Shi. « Voltage Balancing Control of Isolated Modular Multilevel Dc–Dc Converter for Use in Dc Grids with Zero Voltage Switching ». IET Power Electronics 9, no 2 (2016): 270-80. https://doi.org/10.1049/iet-pel.2015.0409.

- Zama, A., S. Ait Mansour, D. Frey, A. Benchaib, S. Bacha, et B. Luscan. « A comparative assessment of different balancing control algorithms for modular multilevel converter (MMC) ». In 2016 18th European Conference on Power Electronics and Applications (EPE’16 ECCE Europe), 1-10, 2016. https://doi.org/10.1109/EPE.2016.7695315.

- Zhang, Lei, Jiangchao Qin, Yuntao Zou, Qing Duan, et Wanxing Sheng. « Analysis of Capacitor Charging Characteristics and Low-Frequency Ripple Mitigation by Two New Voltage-Balancing Strategies for MMC-Based Solid-State Transformers ». IEEE Transactions on Power Electronics 36, no 1 (janvier 2021): 1004-17. https://doi.org/10.1109/TPEL.2020.3000717.

- Wu, Mingzhe, Yun Wei Li, et Georgios Konstantinou. « A Comprehensive Review of Capacitor Voltage Balancing Strategies for Multilevel Converters Under Selective Harmonic Elimination PWM ». IEEE Transactions on Power Electronics 36, no 3 (mars 2021): 2748-67. https://doi.org/10.1109/TPEL.2020.3012915.

- Dash, Jyoti Ranjan, Prasanta Kumar Mohanty, Pramod Agarwal, Premalata Jena, et Narayana Prasad Padhy. « A Deep LSTM-Based RSF Capacitor Voltage Balancing Method for MMC ». In 2023 IEEE 3rd International Conference on Sustainable Energy and Future Electric Transportation (SEFET), 1-6, 2023. https://doi.org/10.1109/SeFeT57834.2023.10245070.